## Slide 1: Kaonic atoms measurements performed by SIDDHARTA-2 collaboration: results and expectations.
Florin Sirghi o behalf of SIDDHARTA-2 Collaboration
17th International Workshop on Meson Physics
KRAKÓW, POLAND, 22nd - 27th June 2023

## Slide 2
Strong interaction induced width and shift obtained by measuring the X-rays emitted
Kaonic atoms are formed
by stopping a
negatively charged kaon
in a target medium
H, He, D, N, …
Li, Be, C, Al, ...
Kaonic Atoms

## Slide 3
Scientific Goal of SIDDHARTA-2
Experimental determination of the isospin-dependent
K-N scattering length
  The first measurement of kaonic deuterium transitions to the fundamental 1s level
  to extract the antikaon-nucleon isospin dependent scattering lengths
  (using also the measurement of kaonic hydrogen performed by SIDDHARTA)

## Slide 4
DAΦNE at Laboratori Nazionali di Frascati of INFN
DEAR
2002
SIDDHARTA-2 2022
SIDDHARTA
2009
KAONIC
HYDROGEN
Nitrogen
KAONIC
HYDROGEN
Helium
KAONIC
DEUTERIUM
Helium, neon
1 cm2 x 144 SDDs
7.4 cm2 x 16 CCDs
0.64 cm2 x 384 new SDDs
The modern era of light kaonic atom experiments
Rev. Mod. Phys. 91, 025006 – June 2019
Kaon beam

## Slide 5
SIDDHARTA (2009)
EM value
K-p Kα
Kaonic hydrogen
Kα
Kβ
higher
C. Curceanu et al., Phys. Lett. B 704 (2011) 113
Some considerations:
The result itself put very strong constrains on various theoretical models
Better precision < 10eV is desired
Kaonic deuterium is a MUST
Stable kaon source (not only high luminosity but also low background conditions)
New setup design (maximize the signal, new detectors, target, veto systems, shielding’s, ….)

## Slide 6
SIDDHARTINO setup (2019-2021)
The SIDDHARTA-2 apparatus with reduced SDD’s channels
Target cell
64 SDD’s channels
Kaon Trigger
Luminosity detector
commissioning of DANE: new optics designed for our experiment, interaction region (new beam pipe, focusing magnets, …..)
AIM: confirm when background conditions are similar to
SIDDHARTA 2009

## Slide 7
SIDDHARTINO (2021) The kaonic 4He 3d->2p () measurement
SDD Drift time distribution FWHM
Kaons
MIPS
SIDDHARTINO spectrum before applying the kaon trigger and the drift time rejection
Kaon Trigger
Optimization of the trigger and new SDDs during the DAΦNE beams commissioning phase in preparation for the K-d run through the measurement of K-4He 3d->2p transition

## Slide 8
D Sirghi et al 2022 J. Phys. G: Nucl. Part. Phys. 49 055106
K-4He 3d->2p shift and width: the most precise measurement in gas!
SIDDHARTINO (2021) The kaonic 4He 3d->2p () measurement

## Slide 9: K-4He low density run: 0.75% liquid helium density -> yields at lowest measured density
SIDDHARTINO (2021) The kaonic 4He yield measurement
D.L. Sirghi, et al. Nuclear Physics A 1029 (2023) 122567
Target optimization with He

## Slide 10
SIDDHARTA-2 apparatus
384 SDDs
Target
Kaon Trigger
Veto-1
Veto-2
Veto-3
Charged kaon

## Slide 11
Optimization of SIDDHARTA-2 setup
new cooling scheme for target and SDD
Better control of target parameters (pressure, temperature, density,….)
Target + SDD cooling
Leybold MD10 – 18 W @ 20 K
target cell and SDDs are cooled
via ultra pure aluminum bars
TTC = 20-30 K
TSDD ~ 130 K
Cooling power 1st stage ~ 115 W @ 80 K 2nd stage ~ 18 W @ 20 K
First stage
dedicated only to SDD cooling
copper with high thermal conductivity
Second stage
dedicated to target cooling

## Slide 12
First stage
dedicated only to SDD cooling
Optimization of SIDDHARTA-2 setup

## Slide 13
Successful tests done
in laboratory in Vienna
Installation and test in Dafne
… after two weeks failure
in the material composition
UHMWPE – new entrance windows material
for target super-strong form of polyethylene,
would eliminate both Nitrogen and Oxygen
contamination
Optimization of SIDDHARTA-2 setup
Replace with the back-up Mylar window

## Slide 14
Improve the lateral shielding around the vacuum chamber after adding VETO3 detector
Redesign and complete the bottom shielding near to interaction point
In collaboration with DAΦNE team to fill gaps in compensator magnets
Optimization of SIDDHARTA-2 setup

## Slide 16
Online monitoring tools for fast feedback
Reduce background and improve KAON/SDD ratio – online tools
luminosity estimation
Optimization of SIDDHARTA-2 setup - results
Dafne
currents
Background estimation

## Slide 17
KC 5->4
KO 6->5
KAl 7->6
KC 6->4
KN 5->4
KC 7->5
KO 7->6
KC 6->5
KN 6->5
KAl 8->7
K4He 3->2
K4He 4->2
K4He 5->2
K4He L-high
SIDDHARTA-2 (2022)
Measurements of high-n transitions in intermediate mass kaonic atoms
Sgaramella, F., al. Eur. Phys. J. A 59, 56 (2023)

## Slide 18
KHe 5->3 (M)
KHe 6->3 (M)
KHe 7->3 (M)
KHe 8->3 4435.4 eV
KHe 9->3 4587.3 eV
KHe 10->3 4696.6 eV
KHe 11->3 4696.6 eV
Ti K
Ti K
 | X-ray relative yield
M/ M | 0.48 0.11
M/ M | 0.43 0.12
L/ M | 0.91 0.14
L/ L | 0.172 0.008
L/ L | 0.012 0.001
 | X-ray relative yield
SIDDHARTA-2 (2022) Kaonic 4He – M-type transitions
Line | Energy [eV]
K-4He M | 3300.8 13.2 (stat) 2.0 (sys)
K-4He M | 3860.4 13.6 (stat) 2.2 (sys)
K-4He M | 4214.1 19.6 (stat) 2.2 (sys)
Line | Energy [eV]
Preliminary

## Slide 19
SIDDHARTA-2 (2022)
Kaonic deuterium technical run

## Slide 20
VETO system adds – VETO3
● light-guides
● Al tube + μMetal (0.1mm)
● reflective and light proof foil
● optical cement
Optimization of SIDDHARTA-2 setup
● 2 pairs of scintillator
640 x 130 x 10 mm3 Scionix EJ-200
● R10533 PMTs Hamamatsu

## Slide 21
SIDDHARTA-2 (2023)
Kaonic Neon
kaonic Neon 6-->5 transition = 15.6354 keV
kaonic Neon 7-->6 transition = 9.42765 keV
kaonic Neon 8-->7 transition = 6.11891 keV
kaonic Neon 9-->8 transition = 4.1951 keV
kaonic Neon 10-->9 transition = 3.00073 keV
kaonic Neon 11-->10 transition = 2.2202 keV
Controlled parameters
of target and
SDD detectors
Kaonic Neon transitions energies
Calibration
technical run
Never measured – scientific goal
High yield from theoretical prediction

## Slide 22
Degrader optimization
Sample data for
one degrader
thickness
SIDDHARTA-2 Kaonic Neon

## Slide 23
SIDDHARTA-2
Kaonic Neon (2023)
K-Ne 8->7
K-Ne 7->6
KC 5->4
K-Ne 6->5
K-Ne 9->8
KAl 8->7
KAl 7->6 KC 6->4
KO 6->5
KO 5->4
KC 7->5
Line | Energy [eV]
K-Ne 98 | 4218.96 3.28 (stat)
K-Ne 8 | 6156.83 0.84 (stat)
K-Ne 7 | 9450.76 0.42 (stat)
K-Ne 6 | 15614.80 0.70 (stat)
Line | Energy [eV]
First K-Ne measurements – possible implications on K- multinucleon interaction and kaon mass
Preliminary

## Slide 24
Kaonic deuterium run ongoing 2023/24
Monte Carlo for an integrated luminosity
of 800 pb-1
to perform the first measurement of the strong interaction induced energy shift and width of the kaonic deuterium ground state
(similar precision as K-p) !
Significant impact in the theory of strong interaction with strangeness
Kaonic deuterium data taking
Monte Carlo Simulation
achievable precision

## Slide 25
Francesco Sgaramella
High precision kaonic atoms X-ray spectroscopy with the SIDDHARTA-2 experiment at the DAFNE collider
SIDDHARTA-2
achievable precision
Oset 2001
Liu 2020
Mizutani 2013
Shevchenkov 2012
Gal 2007
Meißner 2011
Weise 2017
Kaonic deuterium shift and width

## Slide 26
SIDDHARTA-2
Kaonic deuterium measurement plan
First Kaonic deuterium run started in MAY
optimized setup for about 300 pb-1 integrated luminosity
(from May to July 2023)
Second Kaonic deuterium run
with optimized shielding, readout, veto, add 1mm SDD bus and other necessary optimizations
(for remaining integrated luminosity, 400-500 pb-1)
end 2023 - 2024
Calibration/technical runs
KHe, Neon, solid targets Li, Be

## Slide 27
EXtensive
Kaonic
Atoms research: from
LIthium and
Beryllium to
URanium
EXKALIBUR
proposal to perform fundamental physics at the strangeness frontier at DAFNE
for a 3-years period (post-SIDDHARTA-2)
Dedicated runs with different types of detectors:
CZT detectors, HpGe, SDD 1mm, crystal HAPG spectrometer from VOXES project
Future plans
We propose to do precision measurements along the periodic table at DAΦNE
Kaonic Hydrogen: 200 pb-1 – with SIDDHARTA-2 setup – to get a precision < 10 eV (KH)
Selected light kaonic atoms (LHKA)
Selected intermediate and heavy kaonic atoms charting the periodic table (IMKA)
Ultra-High precision measurements of Kaonic Atoms (UHKA)

## Slide 28
Take advantage of “free space” in DAΦNE
CdZnTe
(30-300 keV)
Intermediate Kaonic Atoms
DAΦNE delivers
almost 4π Kaons

## Slide 29
SDD 1mm detector
development
Thicker detectors are produced by FBK with larger guard rings
Samples of detector under test in Milano
Same active area
New Focusing electrodes added
Li, Be, B
solid targets
Future plans

## Slide 30
Total integrated Luminosity:
200 + 400 (200) + 400 (200) + 400 pb-1
Gantt chart
possible implementation of the kaonic atoms measurements
Fast, handy and significant physics measurements with very low costs and human efforts
Future plans

## Slide 31
Kaonic 4He sub eV (stat) precision measurement
Several solid target high-n transition energies measured for the first time
The SIDDHARTA-2 NEON run (technical run) ended
(high interest from theoreticians)
We are confident in machine performance, ready and very motivated to continue the SIDDHARTA-2
Kaonic deuterium measurement
Future measurements proposal
we put forward several proposals for solid targets measurements with SIDDHARTA-2 setup and dedicated detectors systems for 200 - 300 pb-1
Conclusions

## Slide 32
SPARE

## Slide 33
tdc (1 ch=100 ps)
Count
Kaon Charge Detector
kaon charge detector
Stop both and in a passive layer (Teflon) and detect secondaries in a scintillator